{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":12},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":27,"n_cols":9,"rows_kept":27,"merged":[[0,0,0,8],[1,0,1,8],[26,0,26,6]],"flags":["formulas_cached_only"]}
["物  资  材  料  计  划  申  购  单"]
["项目名称：共青校区游泳馆消防电线电缆材料                      计划提报日期：2025年12月08日        "]
["序号","物资名称","规格型号","计量单位","数量","品牌","单价","总价","备注"]
[1,"消防电源监控通讯线","WDZN-RYJS-4X2.5","米",80,{"$nulls":3},"游泳馆消防"]
[2,"电源支线","WDZN-BYJ-2*2.5","米",470,{"$nulls":3},"游泳馆消防"]
[3,"广播线","WDZB1N-RYJSP-2*2.5","米",706,{"$nulls":3},"游泳馆消防"]
[4,"信号线-支线","WDZN-RYJS-2*1.5","卷",19,{"$nulls":3},"游泳馆消防"]
[5,"电缆","BTTRZ 5*6","米",105,{"$nulls":3},"游泳馆消防照明"]
[6,"电缆","BTTRZ 5*6","米",280,{"$nulls":3},"游泳馆消防照明"]
[7,"电缆","BTTRZ 5*16","米",43,{"$nulls":3},"游泳馆消防照明"]
[8,"电缆","WDZB-YJY-0.6/1KV 4x185+1x95","米",90,{"$nulls":3},"游泳馆地下室"]
[9,"电缆","WDZBN-BYJ3*4 ","米",6,{"$nulls":3},"消防电缆"]
[10,"电缆","WDZBN-BYJ5*6 ","米",17,{"$nulls":3},"消防电缆"]
[11,"电缆","WDZB-YJY5*10","米",116,{"$nulls":3},"游泳馆地下室"]
[12,"电缆","WDZB-YJY5*16","米",234,{"$nulls":3},"游泳馆地下室"]
[13,"电缆","WDZB-YJY4*50","米",98,{"$nulls":3},"游泳馆地下室"]
[14,"电缆","WDZB-YJY-0.6/1KV 4x95+1x50","米",45,{"$nulls":3},"游泳馆地下室"]
[15,"电缆","BTTRZ 4*70+1*35","米",157,{"$nulls":3},"消防风机电缆"]
[16,"电缆","BTTRZ 4*35+1*16","米",52,{"$nulls":3},"消防风机电缆"]
[17,"电缆","BTTRZ 5*16","米",114,{"$nulls":3},"消防风机电缆"]
[18,"电缆","WDZB-YJY5*6","米",25,{"$nulls":3},"游泳馆地下室"]
[19,"电缆","WDZB-YJY5*6","米",29,{"$nulls":3},"游泳馆地下室"]
[20,"广播线","WDZB1N-RYJSP-2*2.5","米",156,{"$nulls":3},"消防电缆"]
[21,"电源支线","WDZN-BYJ-2*2.5","米",776,{"$nulls":3},"消防电缆"]
[22,"WDZB-BYJ电线","2.5mm²","卷",15,{"$nulls":3},"游泳馆地下室"]
[23,"WDZB-BYJ电线","4mm²","卷",14,{"$nulls":3},"游泳馆地下室"]
["合计（ 注明：所有主材需商家提供产品合格证和厂家质检报告）",{"$nulls":7},"13%专票"]